## Sheet1
Number incident | Priority | State Actuel | Description | Assignement_Groupe | Date Création
INC0014667 | 3 | 7 | UMTS Cell Blocked | OUI | 2024-05-24 16:27:52
INC0014556 | 3 | 7 | UMTS Cell Unavailable | OUI | 2024-05-24 11:49:59
INC0014622 | 3 | 7 | Statistical Alarm | OUI | 2024-05-24 11:51:09
INC0014546 | 3 | 7 | High temperature | OUI | 2024-05-24 11:49:49
INC0014579 | 3 | 7 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:50:26
INC0014661 | 1 | 7 | Battery disc | OUI | 2024-05-24 16:27:45
INC0014668 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-24 16:27:55
INC0014479 | 3 | 7 | RF Unit RX Channel RTWP/RSSI Unbalanced | OUI | 2024-05-24 11:48:32
INC0014497 | 3 | 7 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:48:53
INC0014573 | 3 | 7 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-24 11:50:19
INC0014566 | 3 | 7 | SCTP Link Fault | OUI | 2024-05-24 11:50:10
INC0014659 | 5 | 3 | ddd | NON | 2024-05-24 16:27:43
INC0014662 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 16:27:46
INC0014666 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-24 16:27:51
INC0014664 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-24 16:27:48
INC0014663 | 3 | 2 | BBU Fan Stalled | OUI | 2024-05-24 16:27:47
INC0014660 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 16:27:44
INC0014665 | 3 | 2 | UMTS Cell Blocked | NON | 2024-05-24 16:27:49
INC0014541 | 3 | 2 | High temperature | OUI | 2024-05-24 11:49:44
INC0014594 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-24 11:50:41
INC0014549 | 3 | 2 | Monitoring Device Maintenance Link Failure | OUI | 2024-05-24 11:49:52
INC0014471 | 3 | 2 | GSM Cell Manually Blocked | OUI | 2024-05-24 11:48:23
INC0014639 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:51:28
INC0014558 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:50:01
INC0014496 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:48:52
INC0014464 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-24 11:48:15
INC0014492 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:48:48
INC0014462 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-24 11:48:12
INC0014504 | 3 | 2 | High temperature | OUI | 2024-05-24 11:49:01
INC0014632 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:51:20
INC0014547 | 3 | 2 | High temperature | OUI | 2024-05-24 11:49:50
INC0014584 | 3 | 2 | KPI Exceed Threshold | OUI | 2024-05-24 11:50:31
INC0014511 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:49:09
INC0014589 | 3 | 2 | High temperature | OUI | 2024-05-24 11:50:35
INC0014613 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:51:00
INC0014551 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-24 11:49:54
INC0014585 | 3 | 2 | KPI Exceed Threshold | OUI | 2024-05-24 11:50:32
INC0014512 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:49:10
INC0014560 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:50:04
INC0014629 | 3 | 2 | Statistical Alarm | OUI | 2024-05-24 11:51:17
INC0014469 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-24 11:48:21
INC0014483 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:48:37
INC0014656 | 3 | 2 | Statistical Alarm | OUI | 2024-05-24 11:51:46
INC0014644 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-24 11:51:34
INC0014633 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:51:21
INC0014516 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:49:15
INC0014564 | 3 | 2 | NodeB Unavailable | OUI | 2024-05-24 11:50:08
INC0014519 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-24 11:49:18
INC0014523 | 3 | 2 | High temperature | OUI | 2024-05-24 11:49:23
INC0014619 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-24 11:51:06
INC0014506 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-24 11:49:03
INC0014553 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-24 11:49:56
INC0014530 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:49:31
INC0014520 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-24 11:49:20
INC0014524 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-24 11:49:24
INC0014538 | 3 | 2 | BBU CPRI Optical Module Fault | OUI | 2024-05-24 11:49:40
INC0014587 | 3 | 2 | High temperature | OUI | 2024-05-24 11:50:34
INC0014514 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:49:12
INC0014654 | 3 | 2 | SCTP Link Congestion | OUI | 2024-05-24 11:51:44
INC0014461 | 3 | 2 | BBU Fan Stalled | OUI | 2024-05-24 11:48:11
INC0014531 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:49:32
INC0014615 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:51:02
INC0014521 | 3 | 2 | CSL Fault | OUI | 2024-05-24 11:49:21
INC0014535 | 1 | 2 | Battery disc | OUI | 2024-05-24 11:49:37
INC0014555 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-24 11:49:58
INC0014592 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-24 11:50:39
INC0014518 | 3 | 2 | NodeB Unavailable | OUI | 2024-05-24 11:49:17
INC0014528 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:49:29
INC0014576 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | NON | 2024-05-24 11:50:22
INC0014577 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:50:23
INC0014580 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-24 11:50:27
INC0014508 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-24 11:49:05
INC0014539 | 3 | 2 | BBU CPRI Optical Module Fault | OUI | 2024-05-24 11:49:42
INC0014609 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-24 11:50:56
INC0014655 | 3 | 2 | Cabinet Air Inlet Temperature Unacceptable | OUI | 2024-05-24 11:51:45
INC0014489 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:48:44
INC0014479 | 3 | 2 | RF Unit RX Channel RTWP/RSSI Unbalanced | OUI | 2024-05-24 11:48:32
INC0014497 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-24 11:48:53
INC0014573 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-24 11:50:19
INC0014301 | 3 | 2 | High temperature | OUI | 2024-05-20 08:04:32
INC0014332 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:05:04
INC0014348 | 3 | 2 | Monitoring Device Maintenance Link Failure | OUI | 2024-05-20 08:05:21
INC0014305 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:04:36
INC0014309 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:04:40
INC0014297 | 3 | 2 | BBU CPRI Optical Module Fault | OUI | 2024-05-20 08:04:28
INC0014376 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:05:50
INC0014317 | 3 | 2 | NodeB Unavailable | OUI | 2024-05-20 08:04:48
INC0014336 | 3 | 2 | High temperature | OUI | 2024-05-20 08:05:08
INC0014344 | 3 | 2 | UMTS Cell Max DL Power Mismatch | OUI | 2024-05-20 08:05:16
INC0014452 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:07:08
INC0014392 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:06:06
INC0014412 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:06:27
INC0014405 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-20 08:06:20
INC0014353 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-20 08:05:26
INC0014279 | 3 | 2 | RF Unit Temperature Unacceptable | OUI | 2024-05-20 08:04:08
INC0014377 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:05:51
INC0014381 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-20 08:05:55
INC0014357 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:05:31
INC0014310 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:04:41
INC0014453 | 3 | 2 | SCTP Link Congestion | OUI | 2024-05-20 08:07:09
INC0014430 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-20 08:06:45
INC0014402 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:16
INC0014276 | 3 | 2 | BBU CPRI Optical Module Fault | OUI | 2024-05-20 08:04:05
INC0014438 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:53
INC0014426 | 3 | 2 | Statistical Alarm | OUI | 2024-05-20 08:06:41
INC0014397 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:12
INC0014446 | 3 | 2 | Power Module Abnormal | OUI | 2024-05-20 08:07:02
INC0014273 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:04:01
INC0014323 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-20 08:04:55
INC0014369 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:05:43
INC0014442 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-20 08:06:58
INC0014288 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:04:18
INC0014259 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:03:44
INC0014434 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:49
INC0014295 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:04:26
INC0014358 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:05:32
INC0014346 | 3 | 2 | High temperature | OUI | 2024-05-20 08:05:19
INC0014277 | 3 | 2 | RF Unit RX Channel RTWP/RSSI Unbalanced | OUI | 2024-05-20 08:04:06
INC0014296 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:04:27
INC0014455 | 3 | 2 | Statistical Alarm | OUI | 2024-05-20 08:07:11
INC0014300 | 3 | 2 | High temperature | OUI | 2024-05-20 08:04:31
INC0014347 | 3 | 2 | High temperature | OUI | 2024-05-20 08:05:20
INC0014435 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:50
INC0014451 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:07:06
INC0014320 | 3 | 2 | CSL Fault | OUI | 2024-05-20 08:04:51
INC0014367 | 3 | 2 | CSL Fault | OUI | 2024-05-20 08:05:41
INC0014371 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:05:45
INC0014321 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-20 08:04:52
INC0014278 | 3 | 2 | RF Unit RX Channel RTWP/RSSI Unbalanced | OUI | 2024-05-20 08:04:07
INC0014448 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:07:04
INC0014341 | 3 | 2 | High temperature | OUI | 2024-05-20 08:05:13
INC0014313 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:04:44
INC0014293 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:04:23
INC0014337 | 3 | 2 | BBU CPRI Optical Module Fault | OUI | 2024-05-20 08:05:09
INC0014325 | 3 | 2 | High temperature | OUI | 2024-05-20 08:04:57
INC0014404 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-20 08:06:19
INC0014396 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:11
INC0014294 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:04:25
INC0014318 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-20 08:04:50
INC0014334 | 1 | 2 | Battery disc | OUI | 2024-05-20 08:05:06
INC0014287 | 3 | 2 | BSS Internal Voice Channel Abnormal | OUI | 2024-05-20 08:04:17
INC0014372 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-20 08:05:46
INC0014329 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:05:01
INC0014393 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-20 08:06:07
INC0014409 | 3 | 2 | High temperature | OUI | 2024-05-20 08:06:24
INC0014302 | 3 | 2 | High temperature | OUI | 2024-05-20 08:04:33
INC0014386 | 3 | 2 | High temperature | OUI | 2024-05-20 08:06:00
INC0014373 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:05:47
INC0014374 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:05:48
INC0014390 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:06:04
INC0014350 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:05:23
INC0014326 | 3 | 2 | High temperature | OUI | 2024-05-20 08:04:58
INC0014454 | 3 | 2 | Cabinet Air Inlet Temperature Unacceptable | OUI | 2024-05-20 08:07:10
INC0014399 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:14
INC0014355 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:05:28
INC0014343 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:05:15
INC0014395 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:09
INC0014427 | 3 | 2 | Statistical Alarm | OUI | 2024-05-20 08:06:42
INC0014383 | 3 | 2 | KPI Exceed Threshold | OUI | 2024-05-20 08:05:57
INC0014375 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:05:49
INC0014423 | 3 | 2 | Statistical Alarm | OUI | 2024-05-20 08:06:38
INC0014439 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:54
INC0014443 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-20 08:06:59
INC0014270 | 3 | 2 | GSM Cell Manually Blocked | OUI | 2024-05-20 08:03:58
INC0014431 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:46
INC0014274 | 3 | 2 | RF Unit VSWR Threshold Crossed | OUI | 2024-05-20 08:04:02
INC0014359 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:05:33
INC0014366 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-20 08:05:40
INC0014260 | 3 | 2 | BBU Fan Stalled | OUI | 2024-05-20 08:03:45
INC0014263 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-20 08:03:49
INC0014282 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:04:11
INC0014289 | 1 | 2 | Battery disc | OUI | 2024-05-20 08:04:19
INC0014416 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:06:31
INC0014271 | 3 | 2 | GSM Cell Manually Blocked | OUI | 2024-05-20 08:03:59
INC0014384 | 3 | 2 | KPI Exceed Threshold | OUI | 2024-05-20 08:05:58
INC0014432 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:47
INC0014261 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-20 08:03:47
INC0014324 | 3 | 2 | High temperature | OUI | 2024-05-20 08:04:56
INC0014388 | 3 | 2 | High temperature | OUI | 2024-05-20 08:06:02
INC0014328 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:05:00
INC0014424 | 3 | 2 | Statistical Alarm | OUI | 2024-05-20 08:06:39
INC0014364 | 3 | 2 | High temperature | OUI | 2024-05-20 08:05:38
INC0014385 | 3 | 2 | KPI Exceed Threshold | OUI | 2024-05-20 08:05:59
INC0014437 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:52
INC0014349 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:05:22
INC0014264 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-20 08:03:51
INC0014360 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:05:34
INC0014283 | 3 | 2 | BSS Internal Voice Channel Abnormal | OUI | 2024-05-20 08:04:12
INC0014306 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:04:37
INC0014322 | 3 | 2 | High temperature | OUI | 2024-05-20 08:04:54
INC0014417 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-20 08:06:32
INC0014298 | 3 | 2 | Power Module Abnormal | OUI | 2024-05-20 08:04:28
INC0014268 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-20 08:03:56
INC0014272 | 3 | 2 | GSM Cell Manually Blocked | OUI | 2024-05-20 08:04:00
INC0014433 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:06:48
INC0014449 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-20 08:07:05
INC0014262 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-20 08:03:48
INC0014314 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-20 08:04:45
INC0014425 | 3 | 2 | Statistical Alarm | OUI | 2024-05-20 08:06:40
INC0014365 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-20 08:05:39
INC0013489 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:06:50
INC0013354 | 1 | 8 | Battery disc | OUI | 2024-05-09 14:04:23
INC0013387 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:00
INC0013508 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:11
INC0013376 | 3 | 8 | Sensor Failure | OUI | 2024-05-09 14:04:48
INC0013579 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:52:41
INC0013646 | 3 | 8 | High temperature | OUI | 2024-05-12 12:55:25
INC0013458 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:18
INC0013600 | 3 | 8 | BBU CPRI Optical Module Fault | OUI | 2024-05-12 12:54:24
INC0013388 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:01
INC0013527 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:32
INC0013608 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:32
INC0013380 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:52
INC0013395 | 3 | 8 | GSM KPI Exceed Threshold | OUI | 2024-05-09 14:05:09
INC0013531 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:36
INC0013413 | 3 | 8 | NodeB Unavailable | OUI | 2024-05-09 14:05:29
INC0013428 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:45
INC0013490 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:52
INC0013505 | 3 | 8 | High temperature | OUI | 2024-05-09 14:07:07
INC0013369 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:40
INC0013417 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:05:33
INC0013565 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-12 12:48:52
INC0013402 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:05:17
INC0013649 | 3 | 8 | High temperature | OUI | 2024-05-12 12:55:34
INC0013377 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:49
INC0013618 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:49
INC0013425 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:42
INC0013455 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:14
INC0013597 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:20
INC0013559 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-12 12:48:44
INC0013539 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:07:45
INC0013614 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:45
INC0013640 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-12 12:55:18
INC0013643 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-12 12:55:21
INC0013547 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:53
INC0013647 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-12 12:55:26
INC0013476 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:06:36
INC0013441 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:59
INC0013456 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:15
INC0013502 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:07:04
INC0013585 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-12 12:54:05
INC0013612 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:37
INC0013536 | 3 | 8 | NodeB Unavailable | OUI | 2024-05-09 14:07:42
INC0013510 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:13
INC0013641 | 3 | 8 | NodeB Unavailable | OUI | 2024-05-12 12:55:19
INC0013528 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:33
INC0013644 | 3 | 8 | CSL Fault | OUI | 2024-05-12 12:55:23
INC0013589 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-12 12:54:09
INC0013381 | 3 | 8 | UMTS Cell Max DL Power Mismatch | OUI | 2024-05-09 14:04:54
INC0013622 | 3 | 8 | Power Module Abnormal | OUI | 2024-05-12 12:54:54
INC0013591 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-12 12:54:14
INC0013411 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:27
INC0013401 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:05:16
INC0013446 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-09 14:06:05
INC0013638 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-12 12:55:15
INC0013606 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:30
INC0013619 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:51
INC0013554 | 1 | 8 | Battery disc | OUI | 2024-05-12 12:48:38
INC0013367 | 3 | 8 | GSM Cell Manually Blocked | OUI | 2024-05-09 14:04:38
INC0013419 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:05:36
INC0013496 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:58
INC0013525 | 3 | 8 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-09 14:07:30
INC0013541 | 3 | 8 | Monitoring Device Maintenance Link Failure | OUI | 2024-05-09 14:07:47
INC0013616 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:47
INC0013578 | 1 | 8 | Battery disc | OUI | 2024-05-12 12:52:40
INC0013412 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:28
INC0013457 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:16
INC0013557 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-12 12:48:42
INC0013629 | 3 | 8 | GSM Cell out of Service | OUI | 2024-05-12 12:55:03
INC0013453 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:12
INC0013461 | 3 | 8 | SCTP Link Fault | OUI | 2024-05-09 14:06:21
INC0013390 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:04
INC0013435 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:53
INC0013424 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:05:41
INC0013485 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:46
INC0013516 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:20
INC0013584 | 3 | 8 | BBU Fan Stalled | OUI | 2024-05-12 12:54:02
INC0013372 | 3 | 8 | BBU CPRI Optical Module Fault | OUI | 2024-05-09 14:04:44
INC0013416 | 3 | 8 | CSL Fault | OUI | 2024-05-09 14:05:32
INC0013405 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:20
INC0013368 | 3 | 8 | GSM Cell Manually Blocked | OUI | 2024-05-09 14:04:39
INC0013558 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-12 12:48:43
INC0013620 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:54:52
INC0013443 | 3 | 8 | High temperature | OUI | 2024-05-09 14:06:01
INC0013555 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-12 12:48:39
INC0013358 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:28
INC0013451 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:06:10
INC0013543 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:49
INC0013520 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:24
INC0013551 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:57
INC0013498 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:07:00
INC0013362 | 3 | 8 | UMTS Cell Blocked | OUI | 2024-05-09 14:04:32
INC0013523 | 3 | 8 | Statistical Alarm | OUI | 2024-05-09 14:07:28
INC0013406 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:21
INC0013637 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-12 12:55:14
INC0013355 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:04:25
INC0013509 | 3 | 8 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-09 14:07:12
INC0013421 | 3 | 8 | High temperature | OUI | 2024-05-09 14:05:38
INC0013410 | 3 | 8 | UMTS Cell Unavailable | OUI | 2024-05-09 14:05:26
INC0013810 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:08:40
INC0013763 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-13 16:07:42
INC0013660 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-13 16:05:35
INC0013739 | 3 | 2 | UMTS Cell Max DL Power Mismatch | OUI | 2024-05-13 16:07:14
INC0013789 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:08:15
INC0013785 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:08:07
INC0013757 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:07:35
INC0013775 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-13 16:07:55
INC0013682 | 3 | 2 | BSS Internal Voice Channel Abnormal | OUI | 2024-05-13 16:06:02
INC0013699 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:06:23
INC0013702 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-13 16:06:26
INC0013805 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:08:34
INC0013653 | 1 | 2 | Battery disc | OUI | 2024-05-13 16:05:26
INC0013659 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-13 16:05:34
INC0013700 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:06:24
INC0013766 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:07:45
INC0013773 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:07:53
INC0013787 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:08:10
INC0013798 | 3 | 2 | NodeB Unavailable | OUI | 2024-05-13 16:08:26
INC0013826 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:08:59
INC0013793 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:08:20
INC0013721 | 3 | 2 | High temperature | OUI | 2024-05-13 16:06:50
INC0013747 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-13 16:07:23
INC0013717 | 3 | 2 | High temperature | OUI | 2024-05-13 16:06:45
INC0013718 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-13 16:06:46
INC0013732 | 3 | 2 | BBU CPRI Optical Module Fault | OUI | 2024-05-13 16:07:04
INC0013754 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:07:31
INC0013691 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:06:14
INC0013758 | 3 | 2 | NodeB Unavailable | OUI | 2024-05-13 16:07:36
INC0013668 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:05:45
INC0013735 | 3 | 2 | High temperature | OUI | 2024-05-13 16:07:07
INC0013814 | 3 | 2 | BBU CPRI Optical Module Fault | OUI | 2024-05-13 16:08:45
INC0013658 | 3 | 2 | UMTS Cell Blocked | OUI | 2024-05-13 16:05:33
INC0013665 | 3 | 2 | GSM Cell Manually Blocked | OUI | 2024-05-13 16:05:42
INC0013751 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:07:28
INC0013690 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:06:12
INC0013742 | 3 | 2 | High temperature | OUI | 2024-05-13 16:07:17
INC0013774 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-13 16:07:54
INC0013781 | 3 | 2 | High temperature | OUI | 2024-05-13 16:08:02
INC0013677 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:05:56
INC0013704 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:06:28
INC0013796 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:08:24
INC0013827 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:09:00
INC0013816 | 3 | 2 | Statistical Alarm | OUI | 2024-05-13 16:08:47
INC0013806 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | NON | 2024-05-13 16:08:35
INC0013756 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:07:34
INC0013685 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:06:05
INC0013714 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-13 16:06:42
INC0013743 | 3 | 2 | Monitoring Device Maintenance Link Failure | OUI | 2024-05-13 16:07:18
INC0013824 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-13 16:08:57
INC0013708 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:06:34
INC0013828 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:09:01
INC0013724 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:06:54
INC0013764 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:07:43
INC0013728 | 3 | 2 | High temperature | OUI | 2024-05-13 16:06:58
INC0013790 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:08:16
INC0013701 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:06:25
INC0013731 | 3 | 2 | High temperature | OUI | 2024-05-13 16:07:02
INC0013651 | 5 | 2 |  | NON | 2024-05-13 16:05:24
INC0013722 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:06:51
INC0013686 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:06:06
INC0013765 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:07:44
INC0013706 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:06:31
INC0013776 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-13 16:07:57
INC0013818 | 3 | 2 | Statistical Alarm | OUI | 2024-05-13 16:08:50
INC0013804 | 3 | 2 | High temperature | OUI | 2024-05-13 16:08:33
INC0013672 | 3 | 2 | RF Unit RX Channel RTWP/RSSI Unbalanced | OUI | 2024-05-13 16:05:49
INC0013822 | 3 | 2 | Statistical Alarm | OUI | 2024-05-13 16:08:54
INC0013772 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:07:52
INC0013797 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:08:25
INC0013710 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:06:36
INC0013809 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:08:39
INC0013666 | 3 | 2 | GSM Cell Manually Blocked | OUI | 2024-05-13 16:05:43
INC0013812 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:08:43
INC0013802 | 3 | 2 | CSL Fault | OUI | 2024-05-13 16:08:30
INC0013815 | 3 | 2 | Statistical Alarm | OUI | 2024-05-13 16:08:46
INC0013780 | 3 | 2 | KPI Exceed Threshold | OUI | 2024-05-13 16:08:01
INC0013713 | 3 | 2 | SCTP Link Fault | OUI | 2024-05-13 16:06:40
INC0013752 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:07:29
INC0013733 | 3 | 2 | BBU CPRI Optical Module Fault | OUI | 2024-05-13 16:07:05
INC0013683 | 3 | 2 | UMTS Cell MC-HSDPA Function Fault | OUI | 2024-05-13 16:06:03
INC0013736 | 3 | 2 | High temperature | OUI | 2024-05-13 16:07:08
INC0013819 | 3 | 2 | Statistical Alarm | OUI | 2024-05-13 16:08:51
INC0013746 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:07:22
INC0013799 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-13 16:08:27
INC0013813 | 3 | 2 | GSM Cell out of Service | OUI | 2024-05-13 16:08:44
INC0013734 | 3 | 2 | High temperature | OUI | 2024-05-13 16:07:06
INC0013767 | 3 | 2 | Adjacent Node IP Address Ping Failure | OUI | 2024-05-13 16:07:46
INC0013753 | 3 | 2 | UMTS Cell Unavailable | OUI | 2024-05-13 16:07:30

## Visualisation1
Étiquettes de lignes | Nombre de Description
Adjacent Node IP Address Ping Failure | 21
Battery disc | 8
BBU CPRI Optical Module Fault | 10
BBU Fan Stalled | 4
BSS Internal Voice Channel Abnormal | 3
Cabinet Air Inlet Temperature Unacceptable | 2
CSL Fault | 6
ddd | 1
GSM Cell Manually Blocked | 8
GSM Cell out of Service | 29
GSM KPI Exceed Threshold | 1
High temperature | 40
KPI Exceed Threshold | 6
Monitoring Device Maintenance Link Failure | 4
NodeB Unavailable | 8
Power Module Abnormal | 3
RF Unit RX Channel RTWP/RSSI Unbalanced | 5
RF Unit Temperature Unacceptable | 1
RF Unit VSWR Threshold Crossed | 1
SCTP Link Congestion | 2
SCTP Link Fault | 27
Sensor Failure | 1
Statistical Alarm | 18
UMTS Cell Blocked | 25
UMTS Cell Max DL Power Mismatch | 3
UMTS Cell MC-HSDPA Function Fault | 78
UMTS Cell Unavailable | 72
(vide)
Total général | 387

## Visualisation2
Étiquettes de lignes | Nombre de Priority
1 | 8
3 | 378
5 | 2
(vide)
Total général | 388

## Visualisation3
Étiquettes de lignes | Nombre de State Actuel
2 | 277
3 | 1
7 | 10
8 | 100
(vide)
Total général | 388